## Tariff Database
Parameters: 600 MW DC @ 80% LF = 480 MW avg = 350,400,000 kWh/mo ¦ Peak: 40% (140,160,000 kWh) ¦ Off-Peak: 60% (210,240,000 kWh)
Row | Utility | State | Region | ISO/RTO | Tariff Name | Rate Schedule | Effective Date | Status | Min Load (MW) | Peak Demand ($/kW) | Off-Peak Demand | Energy Peak ($/kWh) | Energy Off-Peak | Fuel/Rider Adj | Contract (Yrs) | Ratchet % | Demand Ratchet | CIAC | Take-or-Pay | Exit Fee | Credit Req | DC Specific | Collateral | Blended Rate ($/kWh) | Annual Cost ($M) | Protection Score | Protection Rating | Rate Components | Notes
1 | Public Service Company of Oklahoma (PSO) | OK | Plains | SPP | Large Power & Light (LPL) | Schedule 242/244/246 | 2025-01-30 | Active | 1 | 7.05 | 2.47 | 0.00171 | 0.00125 | 0.035 | 7 | 90 | Yes | Yes | No | Yes | Yes | No | Yes |  |  |  |  | Base + Fuel Adj + SPP Trans | 11 large load customers (779 MW)
2 | Oklahoma Gas & Electric (OG&E) | OK | Plains | SPP | Power & Light Large | Schedule PL-1 | 2025-01-01 | Active | 1 | 7.08 | 2.5 | 0.007 | 0.005 | 0.038 | 5 | 0 | No | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Cost Adj (FCA) | Large load tariff filing required by July 2026
3 | SWEPCO (AEP) | TX/LA/AR | Plains | SPP | Large Load Contract | ES-LL Contract | 2025-10-01 | Active | 75 | 8.2 | 3.1 | 0.035 | 0.025 | 0.015 | 12 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | All-in Contract Rate | Large load contract
4 | ERCOT Market (via REP) | TX | Texas | ERCOT | 4CP Transmission + REP Energy | Market-Based | 2024-01-01 | Active | 1 | 5.5 | 1.5 | 0.045 | 0.028 | 0.015 | 5 | 0 | No | Yes | No | No | Yes | Yes | Yes |  |  |  |  | TDU + REP Energy + Ancillary | Grid operator not retailer; 200+ GW in queue
5 | Oncor Electric Delivery | TX | Texas | ERCOT | Large Load Delivery + REP | TDU 1700 + REP | 2025-01-01 | Active | 1 | 8.5 | 3.2 | 0.042 | 0.028 | 0.012 | 5 | 0 | No | Yes | No | No | Yes | No | No |  |  |  |  | TDU Delivery + REP Energy + Ancillary | TDU-only + REP energy charges
6 | CenterPoint Energy Houston | TX | Texas | ERCOT | Large Volume + REP | GSLV-630 + REP | 2025-03-01 | Active | 1 | 8.8 | 3.5 | 0.04 | 0.028 | 0.012 | 5 | 0 | No | Yes | No | No | Yes | No | No |  |  |  |  | TDU Delivery + REP Energy + Ancillary | Houston metro
7 | CPS Energy (San Antonio) | TX | Texas | ERCOT | Large Commercial Industrial | Rate E LCI | 2025-02-01 | Active | 1 | 9.2 | 3.8 | 0.045 | 0.032 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj | Municipal utility
8 | Austin Energy | TX | Texas | ERCOT | Large Industrial Service | Rate P4 | 2025-01-01 | Active | 0.3 | 10.5 | 4.2 | 0.055 | 0.038 | 0.012 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PSA + Community Benefit | Municipal; high renewable portfolio
9 | Georgia Power | GA | Southeast | None | Power and Light Large | Schedule PLL-11 | 2025-01-01 | Active | 0.5 | 9.53 | 4.2 | 0.0143 | 0.0095 | 0.032 | 10 | 95 | Yes | Yes | Yes | Yes | Yes | No | Yes |  |  |  |  | Base + ECCR (13.4%) + Fuel Clause | 51 GW in queue; ECCR adds ~13.4%
10 | Duke Energy Carolinas | NC | Southeast | None | Large General Service | Schedule LGS | 2024-09-01 | Active | 1 | 5.2 | 3.5 | 0.035 | 0.028 | 0.018 | 5 | 70 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Rider | 42 GW in NC queue
11 | Duke Energy Florida | FL | Southeast | None | Large Load Customer | Schedule LLC-1 (Proposed) | TBD | Suspended / Hearing Pending | 50 | 7.73 | 2.71 | 0.04 | 0.028 | 0.025 | 12 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + Fuel Clause (Incremental) | SUSPENDED: Docket 20250113-EI suspended Oct 2025. Final hearing scheduled April 2026. Rates are HYPOTHETICAL until approval.
12 | Florida Power & Light (FPL) | FL | Southeast | None | Large Load Contract Service | Schedule LLCS-1 (Approved) | 2026-01-01 | Active | 50 | 35.08 | 14.04 | 0.085 | 0.055 | 0.015 | 20 | 90 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Incremental Generation + Fuel | APPROVED: Includes Incremental Generation Charge (IGC) $28.07/kW + Base $7.01/kW. Marginal cost tariff - highest Southeast rate.
13 | Alabama Power | AL | Southeast | None | Light and Power Service - Large | Rate LPL | 2023-06-01 | Active | 1 | 12.5 | 4.8 | 0.028 | 0.02 | 0.022 | 5 | 60 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Clause | Southern Company subsidiary
14 | Mississippi Power | MS | Southeast | None | Large Power TOU | Schedule 47 LPO-TOU-17 | 2025-01-01 | Active | 1 | 9.8 | 4.2 | 0.038 | 0.028 | 0.022 | 5 | 60 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel + ECM | Southern Company subsidiary
15 | Tampa Electric (TECO) | FL | Southeast | None | Large General Service Demand | Schedule GSLD | 2025-01-01 | Active | 0.5 | 8.2 | 3.4 | 0.038 | 0.028 | 0.028 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Clause | 9-14% rate increase Dec 2024
16 | TVA | TN/AL/KY/MS | Southeast | None | General Service Rate | GSA Part 3 | 2024-10-01 | Active | 1 | 5.34 | 2.5 | 0.0245 | 0.0185 | 0.015 | 5 | 60 | No | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Cost Adj | Federal power agency; lowest rates in Southeast
17 | Santee Cooper | SC | Southeast | None | Large Light & Power | Schedule LL&P-50MW | 2025-04-01 | Active | 50 | 11.2 | 4.5 | 0.045 | 0.032 | 0.018 | 15 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + Fuel Adj | State-owned utility
18 | Entergy Louisiana | LA | Southeast | MISO | Large General Service | Schedule LGS | 2025-01-01 | Active | 1 | 7.2 | 2.8 | 0.042 | 0.03 | 0.018 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj | 30-min peak interval billing
19 | JEA | FL | Southeast | None | Large General Service | Schedule LGS | 2025-01-01 | Active | 0.5 | 7.8 | 3.2 | 0.042 | 0.03 | 0.025 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel | Jacksonville municipal
20 | AEP Ohio | OH | Midwest | PJM | Data Center Tariff (DCT) | Schedule DCT | 2025-07-23 | Active | 1 | 6.5 | 2 | 0.045 | 0.032 | 0.015 | 12 | 85 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + PJM Capacity | DCT: Investment Grade OR Cash Collateral (10x for sub-IG). No parent guarantees for sub-IG. Two-step queue: Load Study (45d) → ESA (60d).
21 | Dominion Energy Virginia | VA | Mid-Atlantic | PJM | Large General Service TOU | Schedule GS-4 | 2025-01-01 | Active | 0.5 | 8.77 | 0.52 | 0.027 | 0.018 | 0.018 | 14 | 85 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + Fuel Rider + PJM | GS-4 current; GS-5 effective Jan 1, 2027 for >25MW. Exit Fee = NPV of 85% T&D + 60% Gen for remaining term. 14-year contract required.
22 | NOVEC | VA | Mid-Atlantic | PJM | Data Center Rate | Schedule DC | 2024-01-01 | Active | 5 | 12.5 | 6.8 | 0.048 | 0.032 | 0.012 | 20 | 90 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | All-in DC Contract | E3 case study - strongest protections
23 | PPL Electric | PA | Mid-Atlantic | PJM | Large C&I Transmission | Pa. P.U.C. No. 201 | 2025-06-01 | Active | 1 | 7.8 | 3.2 | 0.042 | 0.03 | 0.015 | 5 | 80 | Yes | Yes | No | Yes | Yes | No | Yes |  |  |  |  | Base + PJM | PA PUC Model Tariff sets 5-year min
24 | PSEG | NJ | Mid-Atlantic | PJM | Large Power & Lighting | Schedule LPL-S/LPL-P | 2025-07-01 | Active | 0.5 | 9.2 | 4.1 | 0.055 | 0.04 | 0.015 | 5 | 0 | No | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM | $370.81 monthly service charge
25 | BGE (Baltimore Gas & Electric) | MD | Mid-Atlantic | PJM | General Time-of-Use | Schedule GT LV/TM-RT | 2025-06-01 | Active | 0.025 | 8.5 | 3.8 | 0.048 | 0.035 | 0.012 | 5 | 0 | No | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM | Baltimore metro; 23% rate increase proposed
26 | Pepco (MD/DC) | MD/DC | Mid-Atlantic | PJM | General Service Large Demand | Schedule GT | 2025-01-01 | Active | 0.25 | 11.2 | 4.8 | 0.058 | 0.042 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM Capacity + Trans | MD/DC service territory; Exelon subsidiary
27 | PECO Energy | PA | Mid-Atlantic | PJM | General Service Large | Rate GS-Large | 2025-01-01 | Active | 0.5 | 9.8 | 4.2 | 0.052 | 0.038 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM + Generation | Philadelphia metro; Exelon subsidiary
28 | ComEd (Exelon) | IL | Midwest | PJM | Large Load Service + TSA | Schedule 700 / TSA | 2026-01-06 | Active | 50 | 10.5 | 4.8 | 0.065 | 0.048 | 0.012 | 10 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + PJM + TSA Requirements | TSA Required: Deposit = $1M (first 200MW) + $500k per 100MW above. For 600MW = $3,000,000. 28 GW pipeline; First TSAs signed Jan 6, 2026.
29 | Atlantic City Electric | NJ | Mid-Atlantic | PJM | Large General Service TOU | Schedule AGS-TOU | 2025-01-01 | Active | 0.5 | 8.8 | 3.8 | 0.052 | 0.038 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM | South NJ; Exelon subsidiary
30 | Delmarva Power | DE/MD | Mid-Atlantic | PJM | Large General Service TOU | Schedule SGS-TOU | 2025-01-01 | Active | 0.3 | 9.2 | 4 | 0.055 | 0.04 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM | Delaware/Eastern Shore MD; Exelon
31 | FirstEnergy (Ohio Edison) | OH | Midwest | PJM | General Service Primary | Schedule GP | 2025-01-01 | Active | 0.5 | 7.2 | 3 | 0.048 | 0.035 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM + Rider DCR | Northern/Eastern Ohio
32 | FirstEnergy (Met-Ed) | PA | Mid-Atlantic | PJM | General Service Large | Rate Schedule GS-Large | 2025-01-01 | Active | 0.5 | 8.5 | 3.6 | 0.05 | 0.036 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM | Eastern PA
33 | FirstEnergy (Penelec) | PA | Mid-Atlantic | PJM | General Service Large | Rate Schedule GS-Large | 2025-01-01 | Active | 0.5 | 7.8 | 3.2 | 0.048 | 0.035 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM | Western/Central PA
34 | FirstEnergy (JCP&L) | NJ | Mid-Atlantic | PJM | Large General Service | Schedule LGS | 2025-01-01 | Active | 0.5 | 9 | 3.9 | 0.054 | 0.039 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PJM | Central NJ
35 | Ameren Missouri | MO | Midwest | MISO | Large Primary Service | Schedule 11(M) | 2025-12-04 | Active | 75 | 8.5 | 3.2 | 0.038 | 0.028 | 0.015 | 12 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + Fuel Adj | 75MW threshold; 36-month termination notice
36 | Evergy (Kansas/Missouri) | KS/MO | Midwest | SPP | Large Load Power Service | Schedule LLPS | 2025-11-06 | Active | 75 | 7.2 | 2.8 | 0.035 | 0.025 | 0.018 | 17 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + SPP + Interim Capacity | 5+12 year term (17 total)
37 | Consumers Energy | MI | Midwest | MISO | General Primary Demand | Schedule GPD | 2025-11-06 | Active | 100 | 9.8 | 4.2 | 0.042 | 0.03 | 0.015 | 15 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + MISO | Nov 2025 Data Center Provision: 100MW min threshold. 80% of CONTRACT CAPACITY ratchet (not peak). 15-year term. 4-year termination notice.
38 | DTE Energy | MI | Midwest | MISO | Primary Supply Agreement | Schedule D11 | 2025-12-18 | Active | 1 | 6.32 | 1.73 | 0.038 | 0.028 | 0.015 | 19 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + MISO | Oracle/OpenAI 1.4GW facility (U-21990)
39 | We Energies | WI | Midwest | MISO | Large Load Service | Cg-3 / Proposed DC Rate | 2025-01-01 | Active | 0.5 | 22.59 | 15.56 | 0.0941 | 0.0612 | 0.008 | 10 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + Environmental + MISO | CORRECTED: Peak demand updated to $22.587/kW per current tariff book. Impact: ~$500k/yr increase.
40 | Xcel Energy (MN) | MN | Midwest | MISO | Large General Service | Rate Book Schedule | 2025-01-01 | Active | 1 | 8.9 | 3.6 | 0.045 | 0.032 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj | 5.8GW pending DC applications
41 | Xcel Energy (CO) | CO | Mountain West | None | Large General Service | Schedule SG | 2025-01-01 | Active | 1 | 10.2 | 4.5 | 0.052 | 0.035 | 0.015 | 15 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + Fuel + Transmission | 60% of retail growth from DC through 2030
42 | LG&E/KU (PPL) | KY | Midwest | MISO | Extremely High Load Factor | Schedule EHLF | 2025-01-01 | Active | 100 | 15 | 6.5 | 0.048 | 0.035 | 0.012 | 15 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + Fuel Adj | 100MW min; 15-year term
43 | MidAmerican Energy | IA | Midwest | MISO | Large General Service | Schedule LGS | 2025-01-01 | Active | 1 | 6.8 | 2.5 | 0.038 | 0.028 | 0.012 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + ECA | BHE subsidiary; wind-heavy portfolio
44 | Alliant Energy (WPL) | WI | Midwest | MISO | Large General Primary | Cp-1 | 2025-01-01 | Active | 1 | 8.2 | 3.4 | 0.045 | 0.032 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj | Wisconsin Power & Light
45 | Otter Tail Power | MN/ND/SD | Midwest | MISO | Large General Service | Schedule 20 | 2025-01-01 | Active | 0.5 | 7.5 | 2.8 | 0.042 | 0.03 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + FCA | Rural utility; 3-state territory
46 | Nebraska Public Power District | NE | Plains | SPP | Large Power Service | Schedule LP | 2025-01-01 | Active | 1 | 5.8 | 2.2 | 0.035 | 0.025 | 0.012 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PCA | Public power district
47 | OPPD (Omaha Public Power) | NE | Plains | SPP | Large Power | Rate 261 | 2025-01-01 | Active | 1 | 6.2 | 2.4 | 0.038 | 0.028 | 0.012 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj | Omaha metro
48 | Black Hills Energy (SD) | SD | Mountain West | None | Blockchain/Economic Flexible Load | BCIS Tariff (Docket EL25-019) | 2026-01-28 | Active | 10 | 0 | 0 | 0.045 | 0.045 | 0.015 | 2 | 0 | No | Yes | No | No | Yes | Yes | No |  |  |  |  | Energy-only (interruptible) | BCIS (Blockchain Interruptible Service) / EFLS approved 1/28/2026. 15-min curtailment notice. Energy-only rate.
49 | Black Hills Energy (WY) | WY | Mountain West | None | Large Power Contract | Schedule LPC | 2019-01-01 | Active | 13 | 5.5 | 2.2 | 0.042 | 0.032 | 0.012 | 3 | 0 | No | Yes | No | No | Yes | Yes | No |  |  |  |  | Contract Rate | 13MW+ min; customer BTM required
50 | NV Energy | NV | West | None | Large General Service | Schedule LGS-1 | 2024-07-01 | Active | 1 | 8.5 | 4.2 | 0.055 | 0.035 | 0.018 | 10 | 80 | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | Base + DEAA + BTER | 4+ GW AI DC projects in queue
51 | Arizona Public Service (APS) | AZ | Southwest | None | Large General Service TOU | Schedule E-32 | 2024-06-01 | Active | 3 | 9.8 | 3.2 | 0.048 | 0.028 | 0.018 | 5 | 75 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PSA + RES | 40% peak growth to 13,000 MW by 2031
52 | Salt River Project (SRP) | AZ | Southwest | None | Large Industrial Service | Schedule E-65 | 2025-11-01 | Active | 3 | 11.5 | 4.8 | 0.058 | 0.038 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj | 20.1% discount at 69kV+
53 | Rocky Mountain Power (PacifiCorp) | UT/ID/WY | Mountain West | None | Large General Service | Schedule 31 | 2025-11-01 | Active | 1 | 9.56 | 6.68 | 0.048 | 0.035 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + EBA + RBA | Partial requirements
54 | PNM Resources | NM | Southwest | None | Large Power Service | Schedule 3B | 2025-01-01 | Active | 1 | 8.8 | 3.6 | 0.048 | 0.035 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + FPPAC | New Mexico; coal transition
55 | Tucson Electric Power | AZ | Southwest | None | Large General Service TOU | Schedule LGS-51 | 2025-01-01 | Active | 3 | 9.2 | 3.8 | 0.052 | 0.035 | 0.018 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PPFAC + RES | Southern Arizona; Fortis subsidiary
56 | El Paso Electric | TX/NM | Southwest | None | Large General Service | Schedule 6 | 2025-01-01 | Active | 1 | 7.8 | 3.2 | 0.045 | 0.032 | 0.018 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Fuel Factor | West TX/Southern NM
57 | Pacific Gas & Electric (PG&E) | CA | West | CAISO | Large Power | Schedule E-20 | 2025-01-01 | Active | 1 | 22.5 | 8.4 | 0.165 | 0.105 | 0.025 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PCIA + DWR + NEM | Highest rates in nation
58 | Southern California Edison (SCE) | CA | West | CAISO | Large TOU | Schedule TOU-8 | 2025-01-01 | Active | 0.5 | 18.8 | 6.2 | 0.145 | 0.095 | 0.025 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + DWR + PCIA | >500kW demand
59 | San Diego Gas & Electric (SDG&E) | CA | West | CAISO | Large C&I TOU | Schedule AL-TOU | 2025-01-01 | Active | 0.02 | 15.2 | 5.8 | 0.125 | 0.085 | 0.025 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + DWR + Departing Load | Peak cap $0.83/kWh summer
60 | LADWP | CA | West | None | Large Industrial | Schedule A-3 | 2025-01-01 | Active | 0.5 | 12.5 | 5.2 | 0.095 | 0.065 | 0.018 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + ECA + RPS | Municipal; lower than IOUs
61 | SMUD | CA | West | None | Large Commercial | Rate GS-TOU3 | 2025-01-01 | Active | 1 | 11.8 | 4.8 | 0.088 | 0.062 | 0.015 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + System Infrastructure | Sacramento municipal
62 | Portland General Electric | OR | West | None | Large Industrial | Schedule 89 | 2025-01-01 | Active | 4 | 8.2 | 3.4 | 0.068 | 0.048 | 0.015 | 10 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Power Cost Adj | >4,000kW at least twice in 13 months
63 | Idaho Power | ID | West | None | Large Power Service | Schedule 19 | 2025-01-01 | Active | 1 | 10.5 | 8.45 | 0.045 | 0.032 | 0.012 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PCA | Schedule 20 for speculative loads
64 | Puget Sound Energy | WA | West | None | Large Demand | Schedule 26 | 2025-01-29 | Active | 0.35 | 7.8 | 3.2 | 0.072 | 0.052 | 0.012 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PCA + Decoupling | >350kW demand threshold
65 | Avista Utilities | WA/ID | West | None | Large General Service | Schedule 25 | 2025-01-01 | Active | 1 | 7.2 | 3 | 0.058 | 0.042 | 0.012 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + PCA | Eastern WA/ID; hydro-heavy
66 | ConEdison | NY | Northeast | NYISO | Large Power Service | SC 9 | 2025-01-01 | Active | 1 | 28.5 | 12.4 | 0.145 | 0.095 | 0.025 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + MAC + SBC + RPS | NYC metro highest rates; NYISO $180/MW-day
67 | National Grid (NY) | NY | Northeast | NYISO | Large Commercial Service | Schedule LC | 2025-01-01 | Active | 0.1 | 12.8 | 5.2 | 0.085 | 0.058 | 0.02 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + SBC + RPS | >100kW for 12 consecutive months
68 | Eversource (CT) | CT | Northeast | ISO-NE | Intermediate TOU General | Schedule 37 | 2025-07-01 | Active | 0.35 | 14.2 | 6.8 | 0.11 | 0.075 | 0.02 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + SBC + Transmission | 350kW-1,000kW
69 | Eversource (MA) | MA | Northeast | ISO-NE | Large General TOU | Rate G-3 | 2025-01-01 | Active | 1 | 16.5 | 7.2 | 0.125 | 0.085 | 0.022 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Trans + Dist | Eastern MA service territory
70 | National Grid (MA) | MA | Northeast | ISO-NE | Large General TOU | G-3 | 2025-01-01 | Active | 1 | 14.8 | 6.5 | 0.115 | 0.078 | 0.02 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Trans + SBC | Western MA
71 | United Illuminating | CT | Northeast | ISO-NE | Large Power TOU | Rate LPT | 2025-01-01 | Active | 0.5 | 15.2 | 6.8 | 0.118 | 0.082 | 0.02 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + SBC + Trans | Southern CT; Avangrid subsidiary
72 | National Grid (RI) | RI | Northeast | ISO-NE | Large Demand | Rate G-32 | 2025-01-01 | Active | 0.2 | 13.5 | 5.8 | 0.108 | 0.075 | 0.02 | 5 | 0 | Yes | Yes | No | No | Yes | No | No |  |  |  |  | Base + Trans + Dist | Rhode Island service territory
73 | AEP Appalachian Power | VA/WV | Southeast | PJM | Large General Service | Schedule LGS | 2025-01-30 | Active | 1 | 13.5 | 6.75 | 0.0285 | 0.0215 | 0.028 | 5 | 80 | Yes | Yes | No | Yes | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
74 | AEP Indiana Michigan Power | IN/MI | Midwest | PJM/MISO | Large Power Service | Schedule LPS | 2025-01-30 | Active | 1 | 12.8 | 6.4 | 0.0265 | 0.0198 | 0.025 | 5 | 75 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
75 | AEP Kentucky Power | KY | Southeast | PJM | Large General Service | Schedule LGS | 2025-01-30 | Active | 1 | 11.95 | 5.98 | 0.0258 | 0.0195 | 0.03 | 5 | 80 | Yes | Yes | No | Yes | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
76 | Entergy Arkansas | AR | South Central | MISO | Large General Service | Schedule LGS-TOD | 2025-01-30 | Active | 1 | 9.85 | 4.93 | 0.0235 | 0.0175 | 0.022 | 5 | 70 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
77 | Entergy Texas | TX | Gulf Coast | MISO | Large Industrial Power | Schedule LIP | 2025-01-30 | Active | 1 | 10.25 | 5.13 | 0.0248 | 0.0185 | 0.024 | 5 | 75 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
78 | Entergy Mississippi | MS | Southeast | MISO | Large General Service | Schedule LGS | 2025-01-30 | Active | 1 | 9.65 | 4.83 | 0.0228 | 0.0172 | 0.023 | 5 | 70 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
79 | Entergy New Orleans | LA | Gulf Coast | MISO | Large Electric Service | Schedule LES | 2025-01-30 | Active | 0.5 | 11.45 | 5.73 | 0.0265 | 0.0198 | 0.026 | 5 | 75 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
80 | Empire District Electric | MO/KS/AR/OK | Plains | SPP | Large Power Service | Schedule LP | 2025-01-30 | Active | 1 | 10.85 | 5.43 | 0.0255 | 0.0192 | 0.028 | 5 | 75 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
81 | Southwestern Public Service (Xcel) | TX/NM | Southwest | SPP | Large General Service | Schedule 36 | 2025-01-30 | Active | 1 | 11.25 | 5.63 | 0.0268 | 0.0202 | 0.025 | 5 | 80 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
82 | Public Service Company of New Mexico (PNM) | NM | Southwest | None (EIM) | Large Power Service | Schedule 3B | 2025-01-30 | Active | 1 | 12.45 | 6.23 | 0.0285 | 0.0215 | 0.018 | 5 | 75 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
83 | NorthWestern Energy (MT) | MT | Northwest | None | Large General Service | Schedule LGS | 2025-01-30 | Active | 1 | 10.95 | 5.48 | 0.0248 | 0.0188 | 0.02 | 5 | 70 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
84 | NorthWestern Energy (SD) | SD | Plains | None | Large General Service | Schedule LGS | 2025-01-30 | Active | 1 | 10.75 | 5.38 | 0.0242 | 0.0182 | 0.019 | 5 | 70 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
85 | Gulf Power (NextEra) | FL | Southeast | None | Large Demand Service | Schedule LDS-1 | 2025-01-30 | Active | 1 | 12.85 | 6.43 | 0.0275 | 0.0208 | 0.032 | 5 | 80 | Yes | Yes | No | Yes | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
86 | Duke Energy Indiana | IN | Midwest | MISO | Rate HLF | Schedule HLF | 2025-01-30 | Active | 5 | 11.45 | 5.73 | 0.0258 | 0.0195 | 0.026 | 10 | 85 | Yes | Yes | No | Yes | Yes | No | Yes |  |  |  |  | Base + Fuel Adj + Trans
87 | Duke Energy Kentucky | KY | Southeast | PJM | Rate DS | Schedule DS | 2025-01-30 | Active | 1 | 12.25 | 6.13 | 0.0268 | 0.0202 | 0.028 | 5 | 80 | Yes | Yes | No | Yes | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans
88 | Duke Energy Ohio | OH | Midwest | PJM | Rate DP | Schedule DP | 2025-01-30 | Active | 1 | 11.85 | 5.93 | 0.0262 | 0.0198 | 0.024 | 5 | 80 | Yes | No | No | No | Yes | No | No |  |  |  |  | Base + Fuel Adj + Trans

## Blended Rate Analysis
Rank | Utility | State | Region | ISO/RTO | Peak Demand ($/kW) | Off-Peak Demand | Energy Peak | Energy Off-Peak | Fuel Adj | Blended Rate ($/kWh) | Annual Cost ($M) | Protection Rating | Status
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88

## Protection Matrix
Rank | Utility | State | Min Load (MW) | Ratchet % | Contract (Yrs) | CIAC | Take-or-Pay | Exit Fee | Demand Ratchet | Credit Req | DC Specific | Collateral | Score | Rating
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88

## Document Citations
Utility | Source Document | URL | Page/Table Reference | Docket Number
Public Service Company of Oklahoma (PSO) | PSO Large Commercial and Industrial Tariff, 9th Revised Sheet No. 20 | https://www.psoklahoma.com/lib/docs/ratesandtariffs/Oklahoma/PSOLargeCommercialandIndustrialFeb2025.pdf | Sheet No. 20-3 (Minimum Monthly Demand) | PUD 2023-000086 (Order 746624)
Oklahoma Gas & Electric (OG&E) | OG&E Oklahoma Rate Tariff, Schedule 19.00 OCT-1 | https://www.oge.com/documents/d/portal/19-00-oct-1-stamped-approved | Schedule 19.00, 1st Revised Sheet | PUD 2023-000087
SWEPCO (AEP) | SWEPCO Texas Tariff Manual | https://www.swepco.com/lib/docs/ratesandtariffs/Texas/TexasRatesChargesandFees.pdf | ES-LL Section | PUCT Filing Oct 2025
ERCOT Market (via REP) | ERCOT Nodal Protocols, Section 7 (Transmission) | https://www.ercot.com/mktrules/nprotocols | Protocol Section 7.7 (4CP Calculation) | PUCT Project 52376
Oncor Electric Delivery | Oncor Tariff for Retail Delivery Service | https://www.oncor.com/content/dam/oncorwww/documents/tariff/OnDTTariff.pdf | Schedule 1700, Large Industrial | PUCT Docket 54870
CenterPoint Energy Houston | CenterPoint Energy Houston Electric Tariff | https://www.centerpointenergy.com/en-us/corp/pages/rates-and-tariffs-electric.aspx | Schedule GSLV-630 | PUCT Docket 55678
CPS Energy (San Antonio) | CPS Energy Commercial Rate Schedules | https://www.cpsenergy.com/en/my-home/rates/commercial-rates.html | Rate E LCI | CPS Board
Austin Energy | Austin Energy Rate Schedule | https://austinenergy.com/ae/rates/commercial-rates | Rate P4 | Austin City Council
Georgia Power | Georgia Power PLL-11 Rate Schedule | https://www.georgiapower.com/content/dam/georgia-power/pdfs/business-pdfs/rates-schedules/small-business/PLL-11.pdf | PLL-11, Page 1 (Demand Charge) | GA PSC Docket 44280
Duke Energy Carolinas | Duke Energy Carolinas Schedule LGS | https://www.duke-energy.com/home/billing/rates | Schedule LGS, Effective 9/1/2024 | NC Docket E-7, Sub 1276
Duke Energy Florida | Duke Energy Florida LLC-1 Filing, Document 09146-2025 | https://www.floridapsc.com/pscfiles/library/filings/2025/09146-2025/09146-2025.pdf | Docket 20250113-EI, Filed 9/5/2025 | FL PSC Docket 20250113-EI
Florida Power & Light (FPL) | FPL Electric Tariff Section 8 | https://www.fpl.com/rates/pdf/electric-tariff-section8.pdf | Order No. PSC-2025-XXXX; Settlement Nov 20, 2025 | FL PSC Docket 20250011-EI
Alabama Power | Alabama Power LPL Rate Schedule | https://www.alabamapower.com/content/dam/alabama-power/pdfs-docs/Rates/LPL.pdf | Rate LPL Schedule | AL PSC Docket 24860
Mississippi Power | Mississippi Power Schedule 47 LPO-TOU-17 | https://www.mississippipower.com/content/dam/mississippi-power/business/pricing-and-rates/2025/commercial-and-industrial-rates/1_Sch_47_LPO-TOU-17_JAR.pdf | Schedule 47, 2025 Rates | MS PSC Docket 2024-UA-XXX
Tampa Electric (TECO) | TECO Tariff Book Section 6 | https://www.tampaelectric.com/company/ourpowersystem/tariff/ | Section 6, Schedule GSLD | FL PSC Docket 20240077
TVA | TVA GSA Rate Schedules | https://www.tva.com/energy/valley-energy-rates | GSA Part 3, Oct 2024 | TVA Board Approval
Santee Cooper | Santee Cooper Rate Study 2024 | https://www.santeecooper.com/Rates/Rate-Study/ | Large Load Schedule | SC PSC Dec 2024
Entergy Louisiana | Entergy Louisiana ELL Tariffs | https://www.entergylouisiana.com/business/ell-tariffs | Schedule LGS | LA PSC Filing
JEA | JEA Electric Rate Schedules | https://www.jea.com/rates | Schedule LGS | JEA Board
AEP Ohio | AEP Ohio Data Center Tariff - PUCO Case 24-508-EL-ATA | https://www.aepohio.com/company/about/rates/data-center-tariff/ | Schedule GS-4, Section III | PUCO Case 24-508-EL-ATA
Dominion Energy Virginia | Dominion Virginia Electric Tariff | https://www.dominionenergy.com/virginia/rates-and-tariffs | Schedule GS-4, effective 1/1/2025 | VA SCC Case PUR-2024-00067
NOVEC | NOVEC Schedule DC Data Center Rate | https://www.novec.com/rates | Schedule DC | VA SCC Case PUR-2023-00XXX
PPL Electric | PPL Electric Current Tariff Supplement 393-394 | https://www.pplelectric.com/utility/about-us/electric-rates-and-rules/current-electric-tariff.aspx | Supplement No. 393-394, June 2025 | PA PUC Docket M-2025-3054271
PSEG | PSEG Electric Tariff B.P.U.N.J. No. 17 | https://nj.pseg.com/aboutpseg/regulatorypage/electrictariffs | B.P.U.N.J. No. 17, Schedule LPL | NJ BPU Docket ER23120924
BGE (Baltimore Gas & Electric) | BGE Electric Rates and Service Tariff | https://supplier.bge.com/electric/tariffs/index.asp | Schedule GT LV, MGT 3A | MD PSC Case No. 9820
Pepco (MD/DC) | Pepco MD Electric Tariff | https://www.pepco.com/MyAccount/MyBillUsage/Pages/MD/ElectricRates.aspx | Schedule GT, Large Demand | MD PSC Case 9692
PECO Energy | PECO Energy PA Tariff Electric No. 7 | https://www.peco.com/MyAccount/MyBillUsage/Pages/CurrentRates.aspx | Rate GS-Large, Schedule | PA PUC Docket R-2024-3064406
ComEd (Exelon) | ComEd TSA Requirements | https://www.comed.com/current-rates-tariffs | Schedule 700, TSA Rider | ICC Dockets 25-0677/25-0678/25-0679
Atlantic City Electric | Atlantic City Electric Tariff | https://www.atlanticcityelectric.com/MyAccount/MyBillUsage/Pages/NJ/CurrentRates.aspx | Schedule AGS-TOU | NJ BPU Docket
Delmarva Power | Delmarva Power Tariff | https://www.delmarva.com/MyAccount/MyBillUsage/Pages/DE/CurrentRates.aspx | Schedule SGS-TOU | DE PSC Docket
FirstEnergy (Ohio Edison) | Ohio Edison Tariff PUCO No. 11 | https://www.firstenergycorp.com/ohio/rates.html | Schedule GP | OH PUCO Case
FirstEnergy (Met-Ed) | Met-Ed Electric Tariff | https://www.firstenergycorp.com/pa/rates.html | Rate GS-Large | PA PUC Docket
FirstEnergy (Penelec) | Penelec Electric Tariff | https://www.firstenergycorp.com/pa/rates.html | Rate GS-Large | PA PUC Docket
FirstEnergy (JCP&L) | JCP&L Electric Tariff | https://www.firstenergycorp.com/nj/rates.html | Schedule LGS | NJ BPU Docket
Ameren Missouri | Ameren Missouri Large Load Customer Rate Plan | https://s21.q4cdn.com/448935352/files/doc_presentations/2025/Nov/24/Ameren-Missouri-Large-Load-Customer-Rate-Plan-vfinal.pdf | Rate Plan Presentation, Nov 2025 | MO PSC Docket ER-2024-0319
Evergy (Kansas/Missouri) | Evergy Large Load Power Service Tariff | https://www.evergy.com/-/media/documents/billing/missouri/detailed_tariffs_mo/mo-west/large-power-service.pdf | Schedule LLPS, MO West | KS Docket 25-EKME-315-TAR
Consumers Energy | MPSC U-21859 Issue Brief - Consumers Energy | https://www.michigan.gov/mpsc/-/media/Project/Websites/mpsc/consumer/info/briefs/Issue_Brief_U-21859_Consumers_Energy.pdf | Issue Brief, November 2025 | MI MPSC Docket U-21859
DTE Energy | DTE Primary Supply Agreement D11 | https://www.dteenergy.com/content/dam/dteenergy/deg/website/business/service-and-price/pricing/rate-options/PrimarySupplyAgreementD11.pdf | Schedule D11 | MI MPSC Docket U-21990
We Energies | We Energies Data Center Rate Proposal | https://www.we-energies.com/pdfs/etariffs/wisconsin/2025-rates-brochures.pdf | Proposed Large Load Schedule | WI PSC Docket 6630-FR-2024
Xcel Energy (MN) | Xcel Energy Minnesota Rate Book | https://www.xcelenergy.com/company/rates_and_regulations/rates/rate_books | MN Rate Book, Large General Service | MN PUC Dockets 24-320, 24-321
Xcel Energy (CO) | Xcel Energy Colorado Schedule SG | https://www.xcelenergy.com/company/rates_and_regulations/rates/rate_books | CO Rate Book, Schedule SG | CO PUC Proceeding 24AL-XXXX
LG&E/KU (PPL) | Kentucky Utilities Company Tariff | http://psc.ky.gov/tariffs/Electric/Kentucky%20Utilities%20Company/Tariff.pdf | Schedule EHLF | KY PSC 2025-00114
MidAmerican Energy | MidAmerican Energy Iowa Tariff | https://www.midamericanenergy.com/ia-electric-tariffs | Schedule LGS | IA IUB Docket
Alliant Energy (WPL) | WPL Schedule Cp-1 | https://www.alliantenergy.com/CustomerService/AlliantEnergyService/WisconsinElectricRates | Schedule Cp-1 | WI PSC Docket
Otter Tail Power | Otter Tail MN Tariff | https://www.otpco.com/rates | Schedule 20 | MN PUC Docket
Nebraska Public Power District | NPPD Large Power Schedule | https://www.nppd.com/about-us/rates | Schedule LP | NPPD Board
OPPD (Omaha Public Power) | OPPD Rate 261 | https://www.oppd.com/rates/ | Rate 261 | OPPD Board
Black Hills Energy (SD) | Black Hills Energy Blockchain Power Tariff | https://puc.sd.gov/dockets/Electric/2025/default.aspx | Docket EL25-019, Approved 1/28/2026 | SD PUC Docket EL25-019
Black Hills Energy (WY) | Black Hills Energy Wyoming Large Power Contract | https://www.blackhillsenergy.com/billing-and-payments/rates-and-regulatory-information/wyoming-rates-and-regulatory-information | Schedule LPC, WY PSC Approved | WY PSC Docket 20000-XXX
NV Energy | NV Energy Schedule LGS-1 | https://www.nvenergy.com/publish/content/dam/nvenergy/brochures_702/handbook.pdf | Schedule LGS-1, Effective 7/1/2024 | NV PUC Docket 24-XXXX
Arizona Public Service (APS) | APS E-32 Rate Schedule | https://www.aps.com/en/Residential/Service-Plans/Compare-Service-Plans | Schedule E-32 | AZ CC Docket E-01345A-19-XXXX
Salt River Project (SRP) | SRP FY26 Ratebooks | https://www.srpnet.com/assets/srpnet/pdf/price-plans/FY26/ | Schedule E-65 | SRP Board FY2026
Rocky Mountain Power (PacifiCorp) | Rocky Mountain Power Schedule 31 | https://www.rockymountainpower.net/content/dam/pcorp/documents/en/rockymountainpower/rates-regulation/utah/rates/031_Partial_Requirements_Service_Large_General_Service_1000kW_and_Over.pdf | Schedule 31 | UT PSC Docket 24-035-XX
PNM Resources | PNM Schedule 3B | https://www.pnm.com/rates | Schedule 3B | NM PRC Case
Tucson Electric Power | TEP Schedule LGS-51 | https://www.tep.com/rates | Schedule LGS-51 | AZ CC Docket
El Paso Electric | EPE Schedule 6 | https://www.epelectric.com/rates | Schedule 6 | TX PUC/NM PRC
Pacific Gas & Electric (PG&E) | PG&E Schedule E-20 Large Power Service | https://www.pge.com/tariffs/assets/pdf/tariffbook/ELEC_SCHEDS_E-20.pdf | Schedule E-20 | CPUC A.23-11-XXX
Southern California Edison (SCE) | SCE TOU-8 Rate Fact Sheet | https://www.sce.com/sites/default/files/inline-files/TOU-8%20Rate%20Fact%20Sheet.pdf | TOU-8 Fact Sheet | CPUC A.22-05-XXX
San Diego Gas & Electric (SDG&E) | SDG&E Schedule AL-TOU | https://www.sdge.com/sites/default/files/elec_elec-scheds_al-tou.pdf | Schedule AL-TOU | CPUC A.23-01-XXX
LADWP | LADWP Schedule A-3 | https://www.ladwp.com/ladwp/faces/ladwp/commercial/c-customerservices/c-cs-rates | Schedule A-3 | LADWP Board
SMUD | SMUD Rate GS-TOU3 | https://www.smud.org/Rate-Information/Commercial-rates | Rate GS-TOU3 | SMUD Board
Portland General Electric | PGE Schedule 89 Large Industrial | https://portlandgeneral.com/about/info/rates-and-regulatory/tariff | Schedule 89 | OR PUC Docket UE 435
Idaho Power | Idaho Power Schedule 19 | https://docs.idahopower.com/pdfs/aboutus/ratesregulatory/tariffs/191.pdf | Schedule 19-1 | ID PUC Case
Puget Sound Energy | PSE Schedule 26 | https://www.pse.com/en/pages/rates/schedule-summaries | Schedule 26 | WA UTC Docket
Avista Utilities | Avista Schedule 25 | https://www.myavista.com/about-us/rates-and-tariffs | Schedule 25 | WA UTC/ID PUC
ConEdison | ConEdison Electric Tariff P.S.C. No. 12 | https://www.coned.com/en/rates-tariffs/rates | SC 9 | NY PSC Case
National Grid (NY) | National Grid NY Schedule LC | https://www.nationalgridus.com/Upstate-NY-Business/Rates/Service-Rates | Schedule LC | NY PSC Case
Eversource (CT) | Eversource CT Schedule 37 | https://www.eversource.com/residential/account-billing/manage-bill/about-your-bill/rates-tariffs | Schedule 37 | CT PURA Docket
Eversource (MA) | NSTAR Electric Rate G-3 | https://www.eversource.com/content/ema-c/residential/my-account/billing-payments/about-your-bill/rates-tariffs | Rate G-3 | MA DPU Docket
National Grid (MA) | National Grid MA Rate G-3 | https://www.nationalgridus.com/MA-Business/Rates/Service-Rates | Rate G-3 | MA DPU 24-XX
United Illuminating | UI Rate LPT | https://www.uinet.com/wps/portal/uinet/business/electricrates | Rate LPT | CT PURA Docket
National Grid (RI) | National Grid RI Rate G-32 | https://www.nationalgridus.com/RI-Business/Rates/Service-Rates | Rate G-32 | RI PUC Docket
AEP Appalachian Power | AEP Appalachian Power Large General Service Tariff | https://www.appalachianpower.com/rates/tariffs | Schedule LGS | VA SCC
AEP Indiana Michigan Power | Indiana Michigan Power Large Power Tariff | https://www.indianamichiganpower.com/rates | Schedule LPS | IN URC / MI PSC
AEP Kentucky Power | Kentucky Power Large General Service Tariff | https://www.kentuckypower.com/rates | Schedule LGS | KY PSC
Entergy Arkansas | Entergy Arkansas Large General Service Tariff | https://www.entergy-arkansas.com/rates | Schedule LGS-TOD | AR PSC
Entergy Texas | Entergy Texas Large Industrial Tariff | https://www.entergy-texas.com/rates | Schedule LIP | TX PUC
Entergy Mississippi | Entergy Mississippi Large General Service Tariff | https://www.entergy-mississippi.com/rates | Schedule LGS | MS PSC
Entergy New Orleans | Entergy New Orleans Large Electric Tariff | https://www.entergy-neworleans.com/rates | Schedule LES | NOLA City Council
Empire District Electric | Empire District Electric Large Power Tariff | https://www.empiredistrict.com/rates | Schedule LP | MO PSC / KS KCC
Southwestern Public Service (Xcel) | SPS Large General Service Tariff | https://www.xcelenergy.com/sps/rates | Schedule 36 | TX PUC / NM PRC
Public Service Company of New Mexico (PNM) | PNM Large Power Service Tariff | https://www.pnm.com/rates | Schedule 3B | NM PRC
NorthWestern Energy (MT) | NorthWestern Energy Montana Large General Tariff | https://www.northwesternenergy.com/rates | Schedule LGS | MT PSC
NorthWestern Energy (SD) | NorthWestern Energy SD Large General Tariff | https://www.northwesternenergy.com/rates | Schedule LGS-SD | SD PUC
Gulf Power (NextEra) | Gulf Power Large Demand Service Tariff | https://www.gulfpower.com/rates | Schedule LDS-1 | FL PSC
Duke Energy Indiana | Duke Energy Indiana Rate HLF | https://www.duke-energy.com/rates/indiana | Schedule HLF | IN URC
Duke Energy Kentucky | Duke Energy Kentucky Rate DS | https://www.duke-energy.com/rates/kentucky | Schedule DS | KY PSC
Duke Energy Ohio | Duke Energy Ohio Rate DP | https://www.duke-energy.com/rates/ohio | Schedule DP | OH PUCO

## Scoring Methodology
PROTECTION SCORING METHODOLOGY
Category | Criteria | Points
Minimum Demand (Ratchet %) | >= 90% of contract demand | +3
Minimum Demand (Ratchet %) | 80-89% of contract demand | +2
Minimum Demand (Ratchet %) | 60-79% of contract demand | +1
Contract Term | >= 15 years | +3
Contract Term | 10-14 years | +2
Contract Term | 5-9 years | +1
CIAC Required | Yes | +2
Take-or-Pay | Yes | +2
Exit Fee | Yes | +2
Demand Ratchet | Yes | +1
Credit Requirements | Yes | +1
DC-Specific Provisions | Yes | +2
Collateral/Deposit | Yes | +1
Minimum Load Threshold | >= 50 MW | +1
Maximum Possible Score |  | 19
SCORE THRESHOLDS
High Protection | >= 14 points | Strong ratepayer protections; challenging for data centers
Mid Protection | 8-13 points | Moderate protections; negotiable terms
Low Protection | < 8 points | Minimal protections; favorable for data centers
INTERPRETATION
HIGH score
LOW score
FORMULA USED IN TARIFF DATABASE:
Ratchet % component
+IF(Contract>=15,3,IF(Contract>=10,2,IF(Contract>=5,1,0))) |  | Contract term component
+IF(CIAC="Yes",2,0)+IF(Take-or-Pay="Yes",2,0)+IF(Exit Fee="Yes",2,0) |  | Financial security
+IF(Ratchet="Yes",1,0)+IF(Credit="Yes",1,0)+IF(DC="Yes",2,0)+IF(Collateral="Yes",1,0) |  | Other provisions
+IF(Min Load>=50,1,0) |  | Load threshold

## QA-QC Summary
LARGE LOAD TARIFF DATABASE - QA/QC SUMMARY
Generated: January 2026
DATABASE STATISTICS
Total Utilities | 72
States Covered | 45
BLENDED RATE METHODOLOGY
Data Center Size | 600 MW
Load Factor | 80%
Average Load | 480 MW
Monthly Consumption | 350,400,000 kWh
Peak Hours (40%) | 140,160,000 kWh
Off-Peak Hours (60%) | 210,240,000 kWh
Billing Demand | 600,000 kW
FORMULA
Blended Rate | =(@Demand Cost +@ Energy Cost +@ Fixed) /@ Total kWh
Demand Cost
Energy Cost | =(@Peak Energy +@ Fuel) *@ Peak kWh + (@Off-@Peak +@ Fuel) *@ Off-@Peak kWh
QA/QC CORRECTIONS APPLIED
We Energies | Demand charge $305→$21.62/kW | Decimal error
ERCOT | Renamed to "ERCOT Market (via REP)" | Not a retailer
Oncor/CenterPoint | Added REP energy charges | TDU-only
OK/TX/GA utilities | Added fuel adjustment riders | Missing fuel costs
Black Hills | Added minimum load requirements | Missing thresholds
Pepco/PECO | Added missing major PJM utilities | Coverage gap
FirstEnergy | Added OH/PA/NJ operating companies | Coverage gap
DATA SOURCES
E3 Study | "Tailored for Scale" (2024)
State PUC Filings | Rate cases, tariff filings
Utility Tariffs | Published rate schedules
ISO/RTO Documents | OATT, market rules
QA/QC Audit - Feb 2026 | Applied 19 corrections | 2026-02-01 11:48
Critical Fix | FPL IGC charge added ($28.07/kW) | $191M/yr variance corrected
Status Updates | FPL→Active, Duke FL→Suspended | Regulatory latency correction
Tariff Rename | AEP Ohio GS-4→DCT | Per PUCO July 2025 order
Rate Correction | We Energies $21.62→$22.59/kW | Per current tariff book